**PA21/- 00218 Critical drainage statement for a second storey extension to 6 North Parade, Camborne**

The property was constructed in the mid 1800’s and has been extended to rear in recent years with rainwater down pipe discharging into gully that is connected into a soakaway in the rear garden.

The proposal is to form a second storey bedroom extension the same footprint and extending the existing down pipe to the new fascia height, as the new building is going to be the same square meterage as the existing, there will no increasing in roof area, therefore no additional run off for surface water to the present position and no changes to drainage requirements needed.