Mounting the Solar Panels to the Roof

GSE Integration offers a fast, elegant and universal mounting system for panels

Pantile installations use the 176mm fixings

Permits both portrait and landscape mounting

Maximum spacing is 200cm.

Maximum cantilever is 60cm

Pantiles are modified with a single hole

Tube glued in place at correct length

Attaching rail to rail support

Attachment of PV panels to rails