Design & Access Statement

sph/2021-22/014

Erection of agricultural general purpose building

at

Seaview Farm

Whitstone

Holworthy, EX22 6LD

Access

The site will be accessed off the highway from the existing farm entrance onto the existing farm lane. No public footpaths or rights of way are affected by this new building.

## Siting

The siting of the building is governed by the existing farm operations in respect to adjacent agricultural buildings, dung store and concrete yard, therefore the proposed position is the most appropriate for the farm.

Buildings

The proposal involves the construction of a standard steel frame agricultural general purpose pitched roof  building 12.25m wide x 18.45m long x 4.25m high at eaves rising to 5.95m at ridge level and a further mono pitch section 8.250m wide x 18.45m long

In common with the majority of new agricultural buildings and the existing adjoining building the roof sheeting is to be natural grey profile six corrugated fibre cement with GRP rooflights and treated timber Yorkshire Boarding to South East gable end and South West lapping a 1.500m high concrete panel walling.

The entire floor area will be concrete linked to the existing and new external concrete yard area.