Information of Biomass boiler

Biomass boiler : warmflow ws18

Boiler output : 18kw

Dimensions: Height 1135mm, Depth 1170mm, Width 650mm

DEFRA exempt appliance

2x28mm pipes (flow and return) will go through wall to connect to the central heating circuit

The flue will terminate at approx. 4m high from ground level