# Conditions 3 and 4   See drawing 006

# Coping detail.

# Once Weathered 50-75mm Coping Stone by Eurodec 600mm x 400mm - Sand

# Cill detail.

Timber lintel facia over doors and windows as drawing 006.

100mm x 30mm hardwood painted white to match existing.

Stone and mortar materials are to be provided by contractor and as condition 5 a sample panel is to be built on site.

For window cross section details see attached manufacturers details. Colour and paint type is to be submitted to planning prior to application. Tp match existing.

Manufacturer’s details for bi-fold doors and lantern attached.

Condition 5

A 1m/2 panel is to be constructed by contractor, stone and mortar finish is to be agreed with planning on site.

Condition 6

ALUTEC 102mm black square down pipe and hopper.

https://www.marleyalutec.co.uk

Bi-Fold door details

Lantern details