## Sheet1
Key – Windows | comments | description | sliding sash or casement | keeping box? | brick opening (width x height) | inside box opening (W*H*T)
w07 | Upgrade glass/sash (See sample) at original size | Hall - triple sash | sash | yes | 2670 x 2130 | 3) 2015 * 740 * 100
w02 | Upgrade glass/sash at original size | living room Ground floor flat | sash | yes |  | 2) 1385 * 720 * 100
w03 | Upgrade glass/sash at original size | living room Ground floor flat | sash | yes
w04 | no change | basement | casement | yes | 1070 * 1150
w05 | make openable & double glazed one pane | disabled toilet | swing limited 150mm opening hinged double glazed window/will look very similar to existing when closed | yes | 900 * 900
w08 | Upgrade glass (See sample) | kitchen triple sash | sash | yes | 2660 * 2180 | 3) 2015 * 740 * 100
w09 | no change | WC | casement | yes | 480 * 740
w10 | no change | WC | casement | yes | 480 * 740
w11 | no change | Ensuite | casement | yes | 485 * 740
w12 | Add internal secondary glazing | Flat 1 - Bedroom | sash | yes | size stays same
w13 | Add internal secondary glazing | Flat 1 - Bedroom | sash | yes | size stays same
w01 | Leave as is – Security Georgian wire glass | Basement - (to be kitchen window) | casement | yes | 930 * 500
w14 | Replace | Hall - Lantern Light | Bespoke lantern – www.Medinajoinery.co.uk | no | external dimensions) 2630 W * 3850 L *1150 H
W15 | Upgrade glass/sash at original size |  | sash | yes |  | 715 * 1235
W16 | Upgrade glass/sash at original size |  | sash | yes |  | 710 * 1229
W17 | Upgrade glass/sash at original size |  | sash | yes
W18 | no change | flat 2 - skylight | skylight
W19 | no change | flat 2 - skylight | skylight
W20 | no change | flat 2 - skylight | skylight
W21 | no change | flat 2 - skylight | skylight
Doors
D | Rotten woodwork water ingress | Hall > Half glazed door to courtyard garden | www.historicdoors.co.uk product ref br3058 | Replace | top lite = 990 * 857 (Match existing double glazed ) | door = 985 * 2045
D | Rotten woodwork water ingress | Hall Fire Exit to Marlborough Place | www.historicdoors.co.uk product ref G3031 | Replace |  | door = 740 * 1975
D | Rotten woodwork water ingress | Basement door (New Flat 1 Entrance/Front door) | www.historicdoors.co.uk product ref Br3109 | Replace |  | door = 710 * 1982
D | New Opening | Level access door (New hall entrance doors) | Reuse existing entrance double doors | New doorway with disable access |  | doors= 1260 * 1970 | NB. Specific detail on ramp to accommodate disabled access to follow by 26.01.24
| Reused existing opening | Entrance door to Flat 2 | www.historicdoors.co.uk product ref Br3071 | Replace |  | door = 1155 * 1981
D | Internal doors – All | All internal fire doors replaced with New Vintage FD30 | www.historicdoors.co.uk product ref W2490 | Replace |  | door = 1155 * 1900
D | [5 empty] | doors= 750 * 1965