SPECIFICATION

38 Queen Alexandra Road

Sunderland

Author:	Sean Curran BSc (Hons) MRICS

Date:		March 2024

Issue:		Original (No Revision)

# Specification

# Foundations.

The foundations of the proposed extension are to be in accordance with B.S. 8004. The foundations are to be 600*225mm bearing onto firm clay strata to the invert of any drains running through or parallel to the excavations. The width of these excavations are to be 600mm. Note that all foundations must be a minimum of 900mm below ground level. All excavation on the boundary are to be offset, The size of these foundations are to be 600m to the same depth as mentioned above and the thickness to be 450mm  All excavations are to be stepped below the drains and reinforced concrete lintels bridged over the pipe. No trees that will affect the design of the foundations.

# Walls.

The new external wall of the extension is to be constructed of 100mm Engineering facing brick up  to DPC level then 100mm blockwork with render with a 150mm cavity and 100mm thermolite blockwork internally then plasterboard dot and dabbed with a 3mm finishing skim. The cavity is to be fully filled with knauf drytherm 32 ultimate insulation to achieve a U value of 0.18 W/m2K. The cavity insulation is to have a thermal conductivity of 0.032 Stainless steel wall ties are to be used to B.S. 1243 placed at staggered intervals of 750mm horizontals, 450mm verticals and every 300mm around windows and doors. All windows and doors are to be provided with vertical insulated D.P.C.’s and all new cavities are to be continuous with the existing construction. The stud wall on the ground and first floor are to be constructed of 100mm x 50mm softwood timber with 50mm mineral wool between the studs and 12.5mm plasterboard and a 3mm plaster skim either side of the wall.

# Ground Floor.

The floor of the extension is to be made up of compacted dolomite in layers of 100mm. On top of the dolomite is to be placed 100m of concrete sub base. Honeycomb sleeper walls are to be constructed and the sub base below the walls is to be thickened to 200mm x 450mm wide. Sleeper walls are to be provided at 3m centres. The new floor joists are to be 175mm x 50mm C16 softwood joists at 400mm centres. Between the joists friction fit 100mm Kingspan insulation and finish the floor with 22mm weyroc ready for the floor finishing to be provided. Ensure that a minimum of 150mm is provided between the top of the oversite concrete and the underside of the floor joists. Air bricks are also to be provided round the perimeter of the extension at 1m centres. Any ventilation to the existing house floor is to be maintained in the appropriate manner via 100mm ducts under the concrete floor and connected to air bricks placed at 1m centres in the external wall.

First Floor

The floor construction is to be made up of 225mm x 75mm joists @ 400mm centres. The floor joists are to span from side to side. Lateral restraint straps are to be provided on the front and rear. The straps are to be placed @ 1200mm centres and must span across 3 joists. 100mm knauf mineral wool is to be provided between the joists. 12.5mm plasterboard and a 3mm plaster skim is to be provided to the underside for the ceiling. 30mins fire resistance to be provided between the ground and the bedroom above.  The floor decking for the bedroom is to be 22mm moisture resistant weyroc. All joists are to be provided with mid span strutting to stiffen the floor. All stud walls at first floor level are to be provided with doubled up floor joists.

Drainage.

All the drainage is as per the layout shown on the drawing. The existing SVP is to be re-located as shown. A further stub stack for the WC as shown. New trapped roddable gullys are to be provided on the front and rear elevations. All new drainage is to consist of 100mm diameter hepworth supersleeve plastic pipe work which is to be bedded in pea gravel. All new drainage is to be laid to a minimum gradient of 1:40 and connected into the existing system.  100mm half round deep flow gutters are also to be provided and connected to downcomers to match the existing. Colour of fascias and gutters are to match with the existing. Deep flow guttering to be used on the single storey extension at the front and rear. All new manholes are to be 500mm diameter pre formed manholes.

# Roof.

The roof tiles are to be match with the existing tiles. 100mm headlap provided for each tile. To fix the tiles to the roof 50mm * 25mm tiles battens are to be fixed to the rafters. Between the tile battens and the rafter a breathable tyvek membrane is to be placed. The new roof is to be made up of  175mm x 50mm timbers @ 400mm centres. The  rafters are to sit on a 100mm x 50mm wallplate.  The ceiling joists for the two storey extension are to be 225mm x 75mm C16 at 400mm centres. Joists are to be doubled up under the dwarf walls of the Loft. The ridge is to be 200mm x 50mm and tie beams provided 125mm x 50mm on each rafter all as per the engineers report. The hips to form the mansard roof are to be 200mm x 50mm. The construction of the front single storey is to be made up of 100mm x 50mm softwood timber @400mm centres. Roof covering is to be as per the roof covering to the main two storey roof. The roof over the rear single storey extension is to be made up of 175mm x 50mm C16 timbers at 400mm centres. The joists around the roof windows are to be doubled up. Wall plates are to be 100mm x 50mm as above and bolted to the existing wall at 1m centres. Size of the bolts are to be M16s. 100mm x 50mm tie collars are to be provided on each joists. To insulate the rear extension roof 100mm Kingspan insulation is to be friction fitted between the joists flush with the bottom of the joists then a further 50mm Kingspan over the joists finished with 12.5mm plasterboard and a 3mm plaster skim ready for decoration.  Again, To prevent any spread of the roofs lateral restraint straps are to be provided @ 1.8 meter centres and 1.2m centres on the gables Note that the builder is to ensure that the ceiling is well sealed. All the necessary cavity trays and lead flashing to be provided. The roof over the front single storey extension is to have insulation mineral wall to be 300mm thick. Ceiling joists 100mmx 50mm @ 400mm centres. Tiling and felt as above. All necessary cavity trays and lead flashing are to be provided.

Lintels.

The lintels over the bifold doors, the kitchen and the rest of the extension and conversion are to be designed by the clients Structural Engineer. The windows are to be provided with Birtley Supergalv lintels. 150mm bearings are to be provided either side of the lintel.

# Windows and Doors.

All windows and doors are to be double glazed with trickle vents installed for background ventilation of 8000mm square. Ventilation openings must be equal to at least 1/20th of the total floor area of that room. All glazing must be pilkington K with a 16mm air gap and comply with approved document K of the Building Regulations. All glazing in critical locations is to be toughened or laminated glass.  All new glazing is to give a U value of 1.4 W/m2K.

Smoke Detection.

Main operated self-contained smoke detectors are to be provided. They are to be interconnected, and permanently wired to a separately fused circuit at the fuse board with battery backup. These are indicated on the drawing

# Heating.

# All heating work will be carried out by a CORGI registered Gas Safe engineer and fitted in accordance with the manufacturers instructions. The heating engineer is to check to ensure that the existing boiler is capable of accepting the additional capacity to the system. If the existing boiler cannot accept the addition then a new boiler will require fitting. The boiler is to have a SEDBUC rating of not less than 92 and to be provided with room thermostats and thermostatic valves to all radiators except in rooms controlled by a room thermostat. Furthermore, all pipework in unheated spaces is to be provided with insulation as required by part L of the Building Regulations. Note that the outlet of the boiler is to be provided with a wire guarding if below a height of 2 metres measured from ground level  The positioning of radiators etc. are to be confirmed by the client. Note that the pipe work installations are to be agreed with the client to satisfy their needs.

Dormer Loft Conversion

Foundations.

The foundations of the house are to be expose if deemed necessary to confirm suitability and upgraded as necessary.

Drainage.

As above for the extension.

# Roof.

The existing rafters of the roof are to be provided with 175mm x 50mm rafters mechanically fixed to the original. The joists are to be doubled up round the velux windows. New rafters sized as above are to be provided to make up the new section of the roof. Rafters are to be at 400mm centres. Between the rafters is to be placed 100mm extratherm insulation and to the underside of the rafters 50mm extratherm before fixing 12.5mm plasterboard. Gildevale fascia abutment vents are to be provided at low level and 4 No ventilation tiles are to be provided at high level to cross vent the front and rear sections of the roof over the existing house. The contractor may wish to consider renewing the underfelt to the existing roof. If this option is chosen then a Tyvek breathable membrane is to be used. This will remove the requirement to ventilate the roof. The voids behind the dwarf stud walls to the front and rear section are to be insulated with 300mm of glass fibre rockwool.

# Lintels.

# All lintels on the first floor are to be exposed and checked for suitability. If deemed necessary. Any lintels found to be unsuitable are to be changed accordingly. Inspection by Building Control to be carried out to confirm. Structural calculations are to be provided by the client to confirm the design of the roof and the steel work is acceptable for the design of the supports for the floor and the roof.

# Heating.

# All as above

External Dwarf Stud Walls for the Conversion

The external walls are to be constructed as 100mm * 50mm timber frame construction with 90mm Kingspan TW55 placed between the studs and a further 25mm before installing the 12.5mm plasterboard. The stud wall dividing the bedroom and the stairs is to be constructed of 100mm * 50mm studs with 12.5mm plasterboard either side. Between the plasterboard 25mm of sound insulation is to be provided.

The internal surfaces for the stairs are to have 30 minutes fire resistance. .

Internal Stud Wall Construction

The internal walls are to be made up of 100mm * 50mm timber studwork and 25mm of fibre glass insulation is to be placed between the studs finished either side with 12.5mm plasterboard and skim. Furthermore, walls and ceilings of the staircase enclosure are to be provided with ½ hour fire resistance. The wall to the party wall is to consist of 100mm x 50mm stud work with the necessary insulation installed as above.

# Second Floor.

The floor joists of the conversion are to be C16 225mm * 50mm @ 400mm centres. The joists are to be mechanically fixed together where the joist cross with M16 bolts at 300mm centres. Joists are to overlap 1meter. The joists which are located above the landing are to be fitted into the web of the beam and steel straps installed to sure the joists in position. Calculations to justify the roof and floor analysis to be provided by the client’s structural engineer. The joists are to be doubled up under stud partitions and round the stairs The existing ceiling of the first floor is to be checked by Building Control to ensure that the necessary 30 mins fire resistance is present if it is not present the ceiling will need to be upgraded with 12.5mm plasterboard and skim or chicken wire between the joists with 100mm RW2 flexislab insulation laid on the chicken wire. The floor decking is to be 22mm moisture resistant weyroc.

# Windows and Doors.

Ventilation openings must be equal to at least 1/20th of the total floor area of that room. All glazing must be pilkington K with a 16mm air gap and comply with approved document K of the Building Regulations. All new glazing is to give a U value of 1.4 W/m2K. Two velux windows are to be provided in the raking section of the front and rear roofs.. All doors on the stairs are to be fitted as FD30 doors with intumescent strips and seals. These doors are marked with *. Rafters are to be doubled up either side of the velux roof lights. All flashing kits to be provided with the roof light installations.

Smoke Detection.

As above

# Stairs.

# The new stairs into the conversion are to be 800mm wide and are to be made up as a softwood closed riser staircase. Risers are to be a maximum of 220mm and are to have a minimum going of 220mm. The stairs are to be positioned at a maximum of 420 and are to have a minimum headroom of 2000mm. Handrails are to be placed at 900mm above the pitch line of the stairs. The spindles are to be placed at 100mm centres. The exact size dimensions of the stairs are to be measured on site when all new floor to floor heights are established. It should be noted that the guardings are to be a minimum of 1100mm high and are to resist a UDL of 0.36KN/m2.

# General Notes.

# Builder is to check all dimensions on site before the commencement of any work.

All work carried out on the boundary is to undertaken with the neighbours consent to comply with the requirements of the Party Wall Act 1996.

# Any work on the boundary is to have the consent of the adjoining owners.

# Access for refuse collection must be maintained.

4 No. energy efficient light fitting is to be provided in the extensions

All electrical work is to be carried out in accordance with the IEE Regulations and a person who is Part P registered.

It is the builder’s responsibility for all the necessary health and safety on site. He will cater for the removal of all waste materials from site and also make good to the client’s satisfaction any areas of the site which may have been damaged during the construction work.

All structural calculations are to be provided by the client.

Mechanical extractors are to be provided in the kitchen, the utility room and the bathrooms capable of extracting 60 litres per second,30 litres per second and 15 litres per second respectively.