**Energy Statement**

**220 – 222 Wellington Road South, Stockport, SK2 6RS**

**‘Conversion, refurbishment and extension of 220 Wellington Road South and 222 Wellington Road South as a 13 bed HMO (sui generis use) and a 12 bed HMO (sui generis use) respectively together with associated car parking, bin and bike storage’.**

**Step 1:**

The development is for conversion and extension of existing buildings and does not trigger Stockport’s carbon reduction policy target thresholds.

**Step 2:**

The scheme will be built to the minimum Part L of the Building Regulations June 2022

**Step 3:**

The design and specification details proposed will at the very least meet those required by the Building Regulations Part L of the Building Regulations June 2022. As we have not reached building regulations stage we cannot confirm what level of insulation will be included.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Technology | Technical Feasibility | Carbon Savings | Estimated  Costs | Financial  Viability  (Insert proportion of  estimated project costs) |
| Solar  photovoltaic | The rear pitches of the roof will accommodate PV panels as per submitted drawings. | 20% | £7000 per  PV unit | To be incorporated into scheme. Project cost TBC. |
| Wind Power | Predicted wind speed not considered sufficient. Visual impact of wind generation would also impact on Green Belt location. | Not sufficient wind speed according to web resources | N/A | N/A |
| Micro Hydro | There is no capacity for  micro hydro on this site  since there are no local  water courses available. | N/A | N/A | N/A |
| District  Heating | It is understood  that there are no existing or  planned district heating networks to facilitate  connection at this stage | N/A |  |  |
| Solar Hot  Water | The roof could accommodate panels although the preference is for Solar PV taking account of limited roof space available. | 10% | £6000 per unit | N/A |
| Ground Source  Heat Pumps | Not applicable not sufficient land | N/A | N/A | N/A |
| Biomass | At present no storage building is included. A redesign would need to be undertaken to include a storage building or extension to accommodate a biomass system. There is not sufficient room to allow. | N/A |  |  |

The development will be to at least 2022 Building Regulations standards. Until we reach building regulations stage we cannot set a target emission rate. In accordance with Part L of the building regulations such a rate will be set.